Standards and Specifications Agreement for Stormwater Management and Erosion and Sediment Control Virginia Department of Environmental Quality Standards and Specifications # ___________

Table of Contents

1.0 Standards and Specifications Entity	1

2.0 Standards and Specifications Entity Type	1

3.0 Standards and Specifications Agreement Information	1

4.0 Certification	1

5.0 Administration	2

6.0 Regulated Land-Disturbing Activities	2

7.0 Certified Personnel	3

8.0 Review and Approval of Plans	3

9.0 Erosion and Sediment Control Plan Contents	4

10.0 Variances and Exceptions	4

11.0 Stormwater Pollution Prevention Plan Contents	5

12.0 Stormwater Management Plan Contents	6

13.0 Pollution Prevention Plan Contents	6

14.0 Technical Criteria for Regulated Land-Disturbing Activities	7

15.0 Long-Term Maintenance of Permanent Stormwater Facilities	8

16.0 Project Tracking, Reporting and Recordkeeping	9

17.0 Monitoring, Inspections, and Enforcement	9

Appendices

Appendix A – Non-Virginia Stormwater Management Handbook Construction BMPs

### 1.0 Standards and Specifications Entity

| Entity Name: | University of Virginia |
| --- | --- |
| Entity Address: | P.O. Box 400726 |
| City, State, and Zip Code: | Charlottesville, VA 22904 |
| Contact Name: | Dawson Garrod, P.E. |
| Contact Phone: | (434) 243-5380 |
| Contact Email: | dlg9e@virginia.edu |
| Alt. Contact Name: | Kristin Carter, P.E. |
| Alt. Contact Phone: | (434) 982-5034 |
| Alt. Contact Email: | kma4z@virginia.edu |

### 2.0 Standards and Specifications Entity Type

| ☒ | State |
| --- | --- |
| ☐ | Federal |
| ☐ | Linear Utility |
| ☐ | Public Service Authority |
| ☐ | Wetland/Stream |

### 3.0 Standards and Specifications Agreement Information

| Agreement Date: ______________________________________________________________ |  |
| --- | --- |

| Date of previously approved agreement: ______February 16, 2024_______________________ |  |
| --- | --- |

| Have there been any updates to your previously approved agreement? | ☐ Yes ☒ No |
| --- | --- |

### 4.0 Certification

“I certify under penalty of law that this agreement and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.”

| Printed Name: | Donald E. Sundgren |
| --- | --- |
| Title: | Vice-President and Chief Facilities Officer |
| Signature: |  |
| Date: |  |

### 5.0 Administration

Any state agency may submit standards and specifications for its conduct of land-disturbing activities for Department of Environmental Quality approval as an alternative to submitting soil erosion control and stormwater management plans for its land-disturbing activities pursuant to § 62.1-44.15:34.

The Standards and Specifications Program is designed to provide a single set of standards and specifications that describes how entities with approved standards and specifications conduct land-disturbing activities in a manner that will be consistent with the requirements of the Virginia Erosion and Stormwater Management Act (VESMA), Virginia Erosion and Stormwater Management Regulation, the General Virginia Pollutant Discharge Elimination System (VPDES) Permit for Discharges of Stormwater from Construction Activities (Construction General Permit), the Virginia Stormwater Management Handbook, Version 1.0 or later, and approved non-Virginia Stormwater Management Handbook Construction BMPs (Appendix A).

The University of Virginia (UVA) Erosion and Stormwater Management Program (VESMP) is an integral component of the design, construction, maintenance, and management of the university’s facilities and campuses located in Charlottesville and Wise and other non-contiguous, UVA-owned facilities such as Blandy Experimental Farm.  Land disturbing projects conducted by UVA (or its contractors) on UVA property must follow the S&S.

All UVA construction projects are reviewed by the University Building Official’s Office for code compliance.  A project will not receive a building permit without documenting approval of E&SC and SWM Plans, if applicable.  In addition, reference to UVA’s S&S for E&SC/SWM is included in the University Design Guidelines (UDG), which provides procedural and technical requirements broadly applicable to all design and construction at UVA.  The UDG are available on the University’s Building Official website at https://oubo.virginia.edu/hecomfdg.html.

The University of Virginia, hereinafter “UVA,” (the S&S Entity) is responsible for administering, implementing, and complying with the standards and specifications for Erosion and Sediment Control (ESC) and Stormwater Management (SWM) set out in this agreement by following the design criteria in the Virginia Stormwater Management Handbook, Version 1.0 or later, for regulated land disturbing activities, as described herein.

### 6.0 Regulated Land-Disturbing Activities

- Land-disturbing activities that meet one of the criteria below are regulated as follows:

  - Land-disturbing activity that disturbs 10,000 square feet or more, is less than one acre, not in an area of a locality designated as a Chesapeake Bay Preservation Area, and not part of a common plan of development or sale, is subject to criteria defined in Article 2 (9VAC25-875-540 et seq.) of Part V of the Virginia Erosion and Stormwater Management Regulation (Regulation).

  - Land-disturbing activity that disturbs 2,500 square feet or more, is less than one acre, and in an area of a locality designated as a Chesapeake Bay Preservation Area is subject to criteria defined in Article 2 (9VAC25-875-540 et seq.) and Article 3 (9VAC25-875-570 et seq.) of Part V of the Regulation unless Article 4 (9VAC25-875-670 et seq) of Part V is applicable, as determined in accordance with 9VAC25-875-480 and 9VAC25-875-490.

  - Land-disturbing activity that disturbs less than one acre, but is part of a larger common plan of development or sale that disturbs one acre or more, is subject to criteria defined in Article 2 (9VAC25-875-540 et seq.) and Article 3 (9VAC25-875-570 et seq.) of Part V of the Regulation unless Article 4 (9VAC25-875-670 et seq) of Part V is applicable, as determined in accordance with 9VAC25-875-480 and 9VAC25-875-490.

  - Land-disturbing activity that disturbs one acre or more is subject to criteria defined in Article 2 (9VAC25-875-540 et seq.) and Article 3 (9VAC25-875-570 et seq.) of Part V of the Regulation unless Article 4 (9VAC25-875-670 et seq.) of Part V is applicable, as determined in accordance with 9VAC25- 875-480 and 9VAC25-875-490.

  - Any land‐disturbing activity carried out in a locality with SWM and/or E&SC ordinances that are more stringent than the state program shall be consistent with the requirements of the local program to the maximum extent practicable (9VAC25-875-470 B).

  - Land-disturbing activity that disturbs ≥ 6,000 square feet within the City of Charlottesville or ≥ 10,000 sf within Albemarle County is subject to criteria defined in Article 2 (9VAC25-875-540 et seq.) and Article 3 (9VAC25-875-570 et seq.) of Part V of the Regulation.

- Land-disturbing activities exempt per 9VAC25-875-90 are not required to comply with the requirements of the VESMA unless otherwise required by federal law.

### 7.0 Certified Personnel

- UVA's administrator shall be responsible for the management and coordination of this standards and specifications agreement and shall be certified as a Dual Program Administrator or Dual Combined Administrator as outlined in 9VAC25-875-400.

- Plan Reviewers shall review all ESC and SWM plans for compliance with this standards and specifications agreement and all applicable laws and regulations. Plan reviewers shall be certified as a Plan Reviewer for ESC and a Plan Reviewer for SWM or as a Dual Plan Reviewer, as outlined in 9VAC25-875-400.

- Compliance inspectors shall be responsible for the inspection and compliance of ESC, SWM, and stormwater pollution prevention plan practices. They shall be certified as an Inspector for ESC and an Inspector for SWM or as a Dual Inspector, as outlined in 9VAC25-875-400.

### 8.0 Review and Approval of Plans

- UVA has the authority to approve soil erosion control and stormwater management (ESM) plans, except for activities not required to comply with the requirements of the VESMA, under § 62.1-44.15:34 of the Code of Virginia. The ESM plan is a document describing methods for controlling soil erosion and managing stormwater in accordance with the requirements adopted pursuant to the VESMA. The ESM plan may consist of aspects of the erosion and sediment control plan and the stormwater management plan as each is described in the Virginia Erosion and Stormwater Management Regulation. (9VAC25-875-20).  A copy of the completed plan preparer’s checklists shall be provided with the submittal.

- Resubmissions to address UVA’s comments must include correspondence from the project designer that explicitly responds to each comment from the review. Each response shall describe how the comment was addressed with reference to the locations of the changes in the Plan and/or Narrative. Any other changes not specifically addressed in the response to comments from the previous review shall also be described in the correspondence.

- ESM plans must be approved in writing. If a third party is used to fulfill the certification of the plan reviewer, the third-party reviewer may recommend approval to UVA’s Administrator; however, UVA’s Administrator formally approves the plan in writing. The date of the approvable plan should be noted in the approval letter signed by UVA's certified plan reviewer or combined administrator.

- Plans must be reviewed and approved by Department-certified personnel, as outlined in 9VAC25-875-400, to ensure compliance with these Standards and Specifications for ESC and SWM and reviewed by UVA for consistency with the Virginia Stormwater Management Handbook, Version 1.0 or later, and applicable permit and regulatory requirements. The plan reviewer shall have 30 days to review the plan and provide written comments to UVA’s Administrator.

- UVA or the Department may require changes to an approved ESM plan in the following cases:

  - Where inspection has revealed that the plan is inadequate to satisfy applicable regulations or ordinances; or

  - Where UVA finds that because of changed circumstances, or for other reasons, the plan cannot be effectively carried out and proposed amendments to the plan, consistent with the requirements of the VESMA, are agreed to by the department, as the VESMP authority, and UVA.

### 9.0 Erosion and Sediment Control Plan Contents

- UVA shall prepare an erosion and sediment control plan for its land-disturbing activities. The erosion and sediment control plan shall contain all major conservation decisions to ensure that the entire unit or units of land will be treated to achieve the conservation objectives in 9VAC25-875-560. The erosion and sediment control plan shall be prepared in accordance with 9 VAC25-875-550 and be consistent with design criteria in the Virginia Stormwater Management Handbook, Version 1.0 or later.

- UVA’s Administrator shall provide the name of an individual holding a certificate who will be in charge of and responsible for carrying out the land-disturbing activity to the Department.

### 10.0 Variances and Exceptions

- The Department may waive or modify any of the standards that are deemed to be inappropriate or too restrictive for site conditions, by granting a variance from E&SC minimum standards. A variance may be granted under these conditions:

  - Prior to construction, UVA may request a variance to become part of the approved erosion and sediment control plan. UVA shall explain the reasons for requesting variances in writing. Specific variances which are allowed by the department shall be documented in the plan.

  - During construction, the person responsible for implementing the approved plan may request a variance in writing from the S&S Administrator who will submit the request to the Department. The Department shall respond in writing either approving or disapproving such a request. If the Department does not approve a variance within 10 days of receipt of the request, the request shall be considered disapproved. Following disapproval, the applicant may resubmit a variance request with additional documentation.

- The Department may grant exceptions to the stormwater quantity and quality technical criteria. An exception may be granted provided that (i) the exception is the minimum necessary to afford relief, (ii) reasonable and appropriate conditions shall be imposed as necessary upon any exception granted so that the intent of the VESMA and this chapter are preserved, (iii) granting the exception will not confer any special privileges that are denied in other similar circumstances, and (iv) exception requests are not based upon conditions or circumstances that are self-imposed or self- created.

- Economic hardship alone is not a sufficient reason to grant an exception from the stormwater quantity and quality technical criteria.

- Under no circumstance shall the Department (i) grant an exception to the requirement that the land-disturbing activity obtain required permits, or (ii) approve the use of a BMP not found the Virginia Stormwater Management Handbook, Version 1.0 or later.

- Exceptions to requirements for phosphorus reductions shall not be allowed unless offsite options available through 9VAC25-875-610 have been considered and found not available.

- A record of all exceptions granted shall be maintained by the Department (and/or UVA per Section J.16).

### 11.0 Stormwater Pollution Prevention Plan Contents

- A stormwater pollution prevention plan shall include, but not be limited to, an approved erosion and sediment control plan, an approved stormwater management plan, a pollution prevention plan for regulated land- disturbing activities, and a description of any additional control measures necessary to address a total maximum daily load (TMDL) pursuant to 9VAC25-875-500 E.

- An erosion and sediment control plan consistent with the requirements of 9VAC25-875-550 must be designed and implemented during construction activities. Prior to land disturbance, this plan must be approved by a Plan Reviewer for ESC or a Dual Plan Reviewer.

- A stormwater management plan consistent with the requirements of 9VAC25-875-510 and the design criteria in the Virginia Stormwater Management Handbook, Version 1.0 or later, must be designed and implemented during construction activities. Prior to land disturbance, this plan must be approved by a Plan Reviewer for SWM or a Dual Plan Reviewer.

- A pollution prevention plan that complies with 9VAC25-875-520 and identifies potential sources of pollutants that may reasonably be expected to affect the quality of stormwater discharges from the construction site and describes control measures that will be used to minimize pollutants in stormwater discharges from the construction site must be developed before land disturbance commences.

- In addition to the requirements of subsections A through D of this section, if a specific wasteload allocation for a pollutant has been established in an approved TMDL and is assigned to stormwater discharges from a construction activity, additional control measures that are consistent with the Virginia Stormwater Management Handbook, Version 1.0 or later, must be identified and implemented by the operator so that discharges are consistent with the assumptions and requirements of the wasteload allocation.

- The stormwater pollution prevention plan must address the requirements specified in 40 CFR 450.21, to the extent otherwise required by state law or regulations and any applicable provisions of a state permit:

  - Control stormwater volume and velocity within the site to minimize soil erosion;

  - Control stormwater discharges, including both peak flow rates and total stormwater volume, to minimize erosion at outlets and to minimize downstream channel and stream bank erosion;

  - Minimize the amount of soil exposed during construction activity;

  - Minimize the disturbance of steep slopes;

  - Minimize sediment discharges from the site. The design, installation, and maintenance of erosion and sediment controls must address factors such as the amount, frequency, intensity, and duration of precipitation, the nature of resulting stormwater runoff, and soil characteristics, including the range of soil particle sizes expected to be present on the site;

  - Provide and maintain natural buffers around surface waters, direct stormwater to vegetated areas to increase sediment removal and maximize stormwater infiltration, unless infeasible;

  - Minimize soil compaction and, unless infeasible, preserve topsoil;

  - Stabilization of disturbed areas must, at a minimum, be initiated immediately whenever any clearing, grading, excavating, or other earth-disturbing activities have permanently ceased on any portion of the site, or temporarily ceased on any portion of the site and will not resume for a period exceeding 14 calendar days. Stabilization must be completed within a reasonable period of time or as otherwise determined by the department. In arid, semiarid, and drought-stricken areas where initiating vegetative stabilization measures immediately is infeasible, alternative stabilization measures must be employed as specified by the Department; and

  - Utilize outlet structures that withdraw water from the surface, unless infeasible, when discharging from basins and impoundments.

- The stormwater pollution prevention plan shall be amended whenever there is a change in design, construction, operation, or maintenance that has a significant effect on the discharge of pollutants to state waters and that has not been previously addressed in the plan. The stormwater pollution prevention plan must be maintained at a central onsite location. If an onsite location is unavailable, notice of the stormwater pollution prevention plan's location must be posted near the main entrance at the construction site.

### 12.0 Stormwater Management Plan Contents

- A stormwater management plan shall be developed and implemented as approved or modified by the Department-certified plan reviewer and shall be developed in accordance with the following:

  - A stormwater management plan for a land-disturbing activity shall apply the stormwater management technical criteria outlined in Article 3 (9VAC25-875-570 et seq.) of Part V of the Regulation to the entire land-disturbing activity.

  - A stormwater management plan shall consider all sources of surface runoff and all sources of subsurface and groundwater flows converted to surface runoff; and

  - Best management practices in the stormwater management plan are consistent with design criteria in the Virginia Stormwater Management Handbook, Version 1.0 or later.

- A complete stormwater management plan submittal shall address all requirements of 9VAC25-875-510.

- All final plan elements, specifications, or calculations of the stormwater management plans whose preparation requires a license under Chapter 4 (§ 54.1-400 et seq.) or 22 (§ 54.1- 2200 et seq.) of Title 54.1 of the Code of Virginia shall be appropriately signed and sealed by a professional who is licensed to engage in practice in the Commonwealth of Virginia. Nothing in this subsection shall authorize any person to engage in practice outside his area of professional competence.

### 13.0 Pollution Prevention Plan Contents

- A plan for implementing pollution prevention measures during construction activities shall be developed, implemented, and updated as necessary. The pollution prevention plan shall detail the design, installation, implementation, and maintenance of effective pollution prevention measures as specified in 40 CFR 450.21(d) to minimize the discharge of pollutants. At a minimum, such measures must be designed, installed, implemented, and maintained to:

  - Minimize the discharge of pollutants from equipment and vehicle washing, wheel wash water, and other wash waters. Wash waters must be treated in a sediment basin or alternative control that provides equivalent or better treatment prior to discharge;

  - Minimize the exposure of building materials, building products, construction wastes, trash, landscape materials, fertilizers, pesticides, herbicides, detergents, sanitary waste, and other materials present on the site to precipitation and to stormwater; and

  - Minimize the discharge of pollutants from spills and leaks and implement chemical spill and leak prevention and response procedures.

- The pollution prevention plan shall include effective best management practices to prohibit the following discharges in accordance with 40 CFR 450.21(e):

  - Wastewater from washout of concrete, unless managed by an appropriate control;

  - Wastewater from washout and cleanout of stucco, paint, form release oils, curing compounds, and other construction materials;

  - Fuels, oils, or other pollutants used in vehicle and equipment operation and maintenance; and

  - Soaps or solvents used in vehicle and equipment washing.

- Discharges from dewatering activities, including discharges from dewatering of trenches and excavations, are prohibited unless managed by appropriate controls in accordance with 40 CFR 450.21(c).

### 14.0 Technical Criteria for Regulated Land-Disturbing Activities

- To protect the quality and quantity of state water from the potential harm of unmanaged stormwater runoff resulting from land-disturbing activities, UVA shall adhere to the technical criteria for regulated land-disturbing activities set forth in Part V of the Regulation expressly to include 9VAC25-875-560 [Erosion and sediment control criteria, techniques, and methods: minimum standards], 9VAC25-875-580 [water quality design criteria requirements]; 9VAC25-875-590 [water quality compliance]; 9VAC25-875-600 [water quantity]; 9VAC25-875-610 [offsite compliance options]; 9VAC25-875-620 [design storms and hydrologic methods]; 9VAC25-875-630 [stormwater harvesting]; 9VAC25-875-640 [linear development project]; and, 9VAC25-875-650 [stormwater management impoundment structures or facilities], which shall apply to all land-disturbing activities, except as expressly set forth in 9VAC25-875-490.

- If nutrient credits will be used to comply with the water quality design criteria requirements, UVA shall submit documentation that offsite options, approved by the Department or applicable state board, achieve the necessary phosphorous water quality reductions are available prior to the commencement of the land-disturbing activity (i.e., provide a copy of the letter of availability from an appropriate nutrient bank that nonpoint source nutrient credits are available with the permit registration statement). In the case of a phased project, the land disturber may acquire or achieve the offsite nutrient reductions prior to the commencement of each phase of the land-disturbing activity in an amount sufficient for each such phase.

### 15.0 Long-Term Maintenance of Permanent Stormwater Facilities

- At the completion of the project and prior to final acceptance of permanent stormwater management facilities:

  - The person responsible for carrying out the plan shall submit a construction record drawing for permanent stormwater management facilities to the UVA Administrator. The record drawing shall contain a statement signed by a professional registered in the Commonwealth of Virginia pursuant to Chapter 4 (§ 54.1-400 et seq.) of Title 54.1 of the Code of Virginia, stating that to the best of the professional's knowledge, the construction record drawing shows all adjustments and revisions to the stormwater management plan made during construction and serve as a permanent record of the actual location of all constructed elements.

  - The licensed professional shall also provide surveys, photographs, construction logs, inspection reports, geotechnical testing reports, soil reports certification of materials (i.e. stone, gravel, bio-media, etc.), verified VRRM spreadsheets and all other applicable information documenting that the stormwater management facilities were constructed in accordance with the approved SWM plan.  Record documentation shall be submitted in Adobe PDF form or another approved digital format (VRRM should be submitted in excel format).  Additionally, record drawings shall be submitted digitally in AutoCAD format.

  - Operational training will be required for all BMPs installed on Grounds unless otherwise noted by the UVA project manager and Environmental Resources.  The contractor in coordination with the designer shall schedule a time for training and turnover with the applicable zone maintenance staff, Utilities Department, and or UVA Landscape before the BMP becomes operational and functioning as designed. The contractor will be responsible for all maintenance and repair of the BMP until this training and turnover has occurred.

- After the as-built submittal has been accepted by the Administrator, the operator shall schedule a final inspection of the BMPs and other applicable stormwater distribution system components by a UVA inspector.  The BMP(s) shall not be accepted until the Administrator provides final approval, record drawings accurately reflect the as-built condition, and water quality and quantity requirements have been met.

C. The provision of long-term responsibility for and maintenance of stormwater management facilities and other techniques specified to manage the quality or quantity of runoff is required.

      - For state agency S&S Entities, 9VAC25-875-790 establishes responsibility for the operation and maintenance of SWM facilities shall remain with the state agency and will pass to any successor or owner. At a minimum, a SWM facility will be inspected by the responsible state agency annually and after any storm that causes the capacity of the facility’s principal spillway to be exceeded.  For BMPs located on sites with a long-term lease, the lessee is responsible for all maintenance.

      - For all other S&S Entities, 9VAC25-875-130 states that long-term responsibility for and maintenance of stormwater management facilities shall be set forth in a maintenance agreement which is recorded in the local land records prior to permit termination or earlier and shall at a minimum:

- Be submitted to the VESMP authority for review and approval prior to the approval of the stormwater management plan;

- Be stated to run with the land;

- Provide for all necessary access to the property for purposes of maintenance and regulatory inspections;

- Provide for inspections and maintenance and the submission of inspection and maintenance reports to the VESCP, or VESMP authority; and

- Be enforceable by all appropriate governmental parties.

### 16.0 Project Tracking, Reporting and Recordkeeping

- UVA is responsible for providing project tracking and electronic notifications to the Department of all regulated land-disturbing activities subject to this standards and specifications agreement to comply with the applicable ESC and SWM requirements pursuant to 9VAC25-875-830 E 6.

- UVA must electronically notify the Department of any land- disturbing activities subject to approved standards and specifications that UVA intends to construct in Virginia prior to initiating land disturbance. The following information is required to be included in the electronic notification two weeks prior to initiating the regulated land-disturbing activity:

  - Project name and any associated Construction General Permit number;

  - Project location (including nearest intersection, latitude and longitude, or access point);

  - On-site project manager name and contact information;

  - Responsible Land Disturber (RLD) name and contact information;

  - Project description;

  - Acreage of disturbance for the project;

  - Anticipated project start and finish date; and

  - Any deviations/variances/exemptions/waivers associated with the project.

- In addition to the prior land disturbance notification described above, UVA shall submit to the Department bi-annual linear project tracking of all active projects covered under this standards and specifications agreement from the last six months (including those previously reported). This bi-annual linear project tracking must include the acreage for all listed projects and shall be submitted by January 15th and July 15th of each year to the Department.

- UVA must maintain the following records:

  - Project records including approved SWM/E&SC plans, VRRM spreadsheets, plan preparer’s checklists, CGP registration statements and inspection reports shall be kept, either on-site or in S&S files, for three years after state permit termination or project completion.

  - Stormwater management facility inspection records shall be retained for at least five years from the date of inspection.

  - Construction record drawings, verified VRRM spreadsheets and the as-built stormwater management report shall be maintained in perpetuity or until a stormwater management facility is removed.

### 17.0 Monitoring, Inspections, and Enforcement

- UVA or its designated inspector shall perform periodic inspections of the land-disturbing activity during construction for:

  - Compliance with the approved erosion and sediment control plan;

  - Compliance with the approved stormwater management plan;

  - Development, updating, and implementation of a pollution prevention plan;

  - Compliance with these Standards and Specifications;

  - Compliance with the permit, if applicable; and

  - Development and implementation of additional control measures necessary to address a TMDL.

- Periodic inspections are the responsibility of UVA and shall be conducted by an Inspector for ESC and Inspector for SWM or a Dual Inspector, as outlined in 9VAC25-875-400.

- When violations noted on written E&SC/VSMP inspection reports remain during subsequent inspections, UVA will increase the level of intervention in order to obtain satisfactory response from the Operator.  Intervention may include a stand down of construction activity and involvement of DEQ enforcement staff for significant violations or excessive delays in correcting violations.

- The Department will conduct periodic inspections on all projects during construction, including random inspections and inspections in response to complaints. Where inspections by Department personnel reveal deficiencies in carrying out an approved plan, the Department may take enforcement actions in accordance with the VESMA and related regulations.

|  |  |  |  |  |  |  |  |  |  | APPENDIX A |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Non-Virginia Stormwater Management Handbook (VSMH)

Erosion and Sediment Control Measures

Non-VSMH and proprietary control measures shall be installed per the manufacturer’s instructions,

within the intent of the VSMH and follow the current version of the VSMH Chapter 7 specifications.

Please note that all non-VSMH measures will require that a detail, narrative, and manufacturer’s

installation and maintenance requirements be shown on the approved plan and/or included in the

SWPPP. The control measures listed below are examples of proprietary measures that may be used on sites, as long as the above noted items are addressed and in compliance with Chapter 7 of the latest version of the VSMH.

Control Measures

Construction Entrance (MS-17)

- AlturnaMats®

- VersaMats®

- FODS® Trackout Control Mats

- DiamondTrackTM

Silt Fence (MS-4)

- Curlex® Sediment Logs®

- Erosion Eel™

- SiltSoxx™

- SMARTfence®36

- Thrace TPG400EOMM Silt Fence

Storm Drain Inlet Protection (MS-10)

- Curlex® Sediment Logs®

- Erosion Eel™

- SiltSoxx®

- Dandy Bag®

- Dandy Curb Bag®

- Dandy Sack®

- Dandy Curb Sack®

- Dandy Curb®

- Dandy Pop®

- Silt Sack® (Regular Flow)

- The Grate Bag

- Yellow Jacket Drain Inlet Filter

Dewatering Structure (MS-16)

- Dandy Dewatering Bag®

- Dirtbag® Dewatering Bag

**This appendix does not replace the need for variance requests according to 9VAC25-875-170

and associated regulations, or the need to record amendments, modifications, or updates to the

SWPPP from commencement of land disturbance to notice of termination issuance – which includes changes to control measures on site not already specified in the approved ESC and SWM Plan.